## Timeline
Time | Event | Source
2026-11-16 03:12 | Aggregation node ZVT-TP-0042 unreachable; duty engineer confirms loss of service | Network Operations Centre
2026-11-16 03:25 | Mobile service confirmed down in Xinyi and Da'an; 8,400 subscribers affected | Network Operations Centre
2026-11-16 03:41 | Proseware Hospital reports 119 calls cannot be placed from the emergency department | Customer care
2026-11-16 04:22 | Regulatory affairs notified internally | Network Engineering
2026-11-16 04:48 | Service restored; total outage 96 minutes | Network Operations Centre

## Impact
Item | Value
Incident number | INC-2611-1180
Subscribers affected | 8400
Outage duration (minutes) | 96
Emergency call access affected | Yes
Emergency facility affected | Proseware Hospital emergency department
Emergency numbers affected | 119／110